## Technology
Demand Respnse Activation Matrix Initiator / Program è Message type / Tool ê | Utility DR local distribution issues | Utility Economic Dispatch market conditions | ISO Reliability hourly resolution | ISP Reliability spinning reserves | Consumer Incentivized 3rd party aggregated bidding program | Requires Program Support | additions ...
Time-of-Use (fixed schedule) | NO | YES | NO | NO | NO | Yes | NO
Day Ahead (hr resolution) | NO | YES | MAYBE | YES | YES | YES | NO
Hourly Pricing (15-min lead time?) | YES | YES | YES | YES | YES | YES | NO
Reliability Fast (fast response) | MAYBE | NO | YES | YES | YES | MAYBE | NO
Reliability (medium response) | YES | NO | YES | MAYBE | YES | MAYBE | NO
Direct Load Control | YES | YES | NO | NO | MAYBE | Yes | NO
Load Leveling | NO | YES | MAYBE | NO | MAYBE | NO | NO
Execute Load | NO | NO | YES | NO | MAYBE | MAYBE | NO
Grid Emergency | MAYBE | NO | YES | YES | NO | YES | NO
additions … | NO | NO | NO | NO | NO | NO | NO
CVS: | NO
YES
MAYBE
Note on B6: GRH: - immediate response (several seconds) sort duration ~10 minutes
Note on B9: GRH: Postpone load under given conditions to allow another building device to complete a cycle prior to operation of this device. This may be a function of a building controller or energy management system.
Note on B3: GRH: Set daily peak/off-peak schedule
Note on B4: GRH: Price changes hourly accourding to a transmitted schedule
Note on B5: GRH: Lead time may need to be longer, perhaps 1 hr ahead to accommodate appliances?
Note on B12: GRH: Last Call before blackout due to extreme unforseen conditions. Utilization must be reported, and monitored, for extreme conditions only. Not intended for economic dispatches.
Note on B10: GRH: Called when there is a need to relieve energy from the grid. This could be a brief signal (T/F) indicating that any device is requested to utilize power. This would likely need support of a tariff that reduces or eliminates charges during this event.
Note on B7: GRH: e.g. 10 minute response, longer duration ~hr
Note on B8: GRH: Traditional utility DLC program. Pre-agreed program participation required.
Note on C2: GRH: Tool utilization for the benefit of the electricity retailer / distributor independent of grid operations and conditions.
Note on B11: GRH: Last Call before blackout due to extreme unforseen conditions. Utilization must be reported, and monitored, for extreme conditions only. Not intended for economic dispatches.