## Technology
Demand Respnse Activation Matrix Initiator / Program è Message type / Tool ê | Utility DR local distribution issues | Utility Economic Dispatch market conditions | ISO Reliability hourly resolution | ISO Reliability spinning reserves | Consumer Incentivized 3rd party aggregated bidding program | Requires Program Support | additions ...
Time-of-Use (fixed schedule) | NO | YES | NO | NO | NO | Yes | NO
Day Ahead (hr resolution) | NO | YES | MAYBE | YES | YES | YES | NO
Hourly Pricing (15-min lead time?) | YES | YES | YES | YES | YES | YES | NO
Reliability Fast (fast response) | MAYBE | NO | YES | YES | YES | MAYBE | NO
Reliability (medium response) | YES | NO | YES | MAYBE | YES | MAYBE | NO
Direct Load Control | YES | YES | NO | NO | MAYBE | Yes | NO
Load Leveling | NO | YES | MAYBE | NO | MAYBE | NO | NO
Execute Load | NO | NO | YES | NO | MAYBE | MAYBE | NO
Grid Emergency | MAYBE | NO | YES | YES | NO | YES | NO
additions … | NO | NO | NO | NO | NO | NO | NO
CVS: | NO
YES
MAYBE
Note on B6: Reliability - fast resp: - immediate response (several seconds) sort duration ~10 minutes
Note on B9: Load Leveling: Postpone load under given conditions to allow another building device to complete a cycle prior to operation of this device. This may be a function of a building controller or energy management system.
Note on B3: TOU: Set daily peak/off-peak schedule
Note on B4: Day Ahead: Price changes hourly accourding to a schedule transmitted the day before.
Note on B5: Hourly Pricing: Lead time may need to be longer, perhaps 1 hr ahead to accommodate appliances?
Note on B10: Execute Load: Called when there is a need to relieve energy from the grid. This could be a brief signal (T/F) indicating that any device is requested to utilize power. This would likely need support of a tariff that reduces or eliminates charges during this event.
Note on B7: Reliability: e.g. 10 minute response, longer duration ~hr
Note on B8: Direct Load Control: Traditional utility DLC program. Pre-agreed program participation required.
Note on C2: Utility DR: Tool utilization for the benefit of the electricity retailer / distributor independent of grid operations and conditions. Activation may be related to localized distribution issues.
Note on B11: Grid Emergency: Last Call before blackout due to extreme unforseen conditions. Utilization must be reported, and monitored, for extreme conditions only. Not intended (nor allowable) for economic dispatches.
Note on D2: Utility Economic Dispatch: Local utility tools to avoid negative economic impact caused by supply/demand issues.
Note on E2: ISO Reliabiity (hr): System operations tool for daily supply/demand management.
Note on F2: ISO - reliability spinning reserves: ISO tool immediate un-forcasted need. Generally only the Fast Respnse would qualify. However, the availability of the response may impact the day and hourly programs.
Note on G2: Consumer Incentivized: Third party aggregators should be able to use these capabilities to offer a sum of responses as a bid into various utility and/or ISO-RTO programs.
Note on H2: Req Program Support: Special column indicating if use of this tool would need support of a tariff and/or a specific utility program designed to enable the use or benefits.