| [OBIX-216] 14 Preformated vs Compaction Created: 08/Mar/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 XSD PR02 |
| Fix Version/s: | None |

| Type: | Improvement | Priority: | Major |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | Brian Frank |

| Description |  |
| --- | --- |

It seems like two features have been introduced which essentially solve the same problem. If we define the ability to return history data using compact formats such as CSV, then why create another compaction model that still requires verbose XML with some new made-up plain text language? Some thoughts: - the XML is largely the problem, so compacting within XML doesn't seem right direction - omitting timestamps seems attractive, but seems very prone to data errors; my experience is that parsing a CSV file of 15min data for year is very fast (milliseconds) and with gzip encoding its hard to beat its size; so I do not think omitting timestamps makes sense - it will likely create huge number of bugs/bad data, and doesn't seem worth the trade-offs - I think standardizing a simple CSV format with timestamp/values using a gzip transfer encoding is best overall solution - the existing pre-formatted feature is awkward and doesn't really fit into the overall design of HTTP content negotiation. Plus it looks like it requires two requests to work right now. So ideally we'd collapse all this into one new feature which is a way to use content negotiation to return a history query as CSV (or other pluggable formats).

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 10/Mar/14 ]

I agree that having two ways to do the same thing would invite noninteroperability. This will probably require some committee discussion, but it makes sense to consider a new data model for history that would use a compact format like CSV. I am ok with defining a default option, but perhaps we still allow specification of an alternate if desired?

Comment by Craig Gemmill [ 10/Jun/14 ]

I think one way is best. I propose removing the "compact history format", and then working with the "preformatted" approach to make that work the way we want.

Comment by Craig Gemmill [ 10/Jun/14 ]

Removed compact history format. Currently still requires two requests for preformatted. Working on how to describe a format for the server to return in a one-step process, because the response would have to be in whatever encoding is being used between the client & server for the request, right?

Comment by Toby Considine [ 10/Jun/14 ]

I'm thinking of the post I shared with the TC this morning on EXI. One notion included that a schema-informed compression can be much greater than any standard compression. Does this suggest that referencing a scheme is part of the requirement here? Not fully baked thoughts: 1) There is a default telemetry schema. 2) A request to track three things and report later creates, in effect, an alternate schema. 3) Either Schema is conformant with WS-Calendar streams. 4) Common schema encodings could include CSV 5) Alternate delimiters - could they be considered alternate encodings of the base schema? Not sure where I am going here, but...

| [OBIX-215] 14.1 History Object (interpolation) Created: 08/Mar/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 XSD PR02 |
| Fix Version/s: | None |

| Type: | Improvement | Priority: | Minor |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | Brian Frank |

| Proposal: | Propose to add child element to obix:History: <enum name="collection" range="obix:HistoryCollection"/> and add range to core contract library: <list href="obix:HistoryCollection" is="obix:Range"> <obj name="cov"/> <obj name="interval"/> </list> |
| --- | --- |

| Description |  |
| --- | --- |

Interpretation of history data requires knowing if the value was collected on an interval basis or change of value. It would be nice to adopt Haystack definitions - see http://project-haystack.org/tag/hisInterpolate <obj href='obix:History'> <enum name='interpolate' val='cov'/> </obj>

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 10/Jun/14 ]

I think 'interpolate' is not really accurately descriptive of the information being presented; it's really how the history is collected. The knowledge of how the data was collected is *used* when interpolating the data.

| [OBIX-199] Section 5.1: Should there be a general discussion of securing the lobby? Created: 20/Feb/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 PR02 |
| Fix Version/s: | None |

| Type: | Improvement | Priority: | Minor |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | Toby Considine |

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 10/Jun/14 ]

We have a security section in 16. In it we have language describing that the specifics of the installation and the bindings/encodings used will vary the requirements for security, so is more needed?

Comment by Craig Gemmill [ 10/Jun/14 ]

We don't seem to be able to link to issues in this JIRA implementation, so I will include the ref here to OBIX-207: https://tools.oasis-open.org/issues/browse/OBIX-207

Comment by Craig Gemmill [ 10/Jun/14 ]

TC discussion requested

| [OBIX-175] Non-Normative References REST Created: 20/Feb/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 PR02 |
| Fix Version/s: | None |

| Type: | Bug | Priority: | Minor |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | TAB Review |

| Proposal: | I have updated the citation to the recommended reference. But it may be that we don't even need it, because I don't see any references to the SOAP document in the spec. |
| --- | --- |

| Description |  |
| --- | --- |

"1.3 Non-Normative References reads in part: ***** Gudgin, M., Hadley, M., Mendelsohn, N., Moreau, J., Nielsen, H., Karmarkar, A., Lafon, Y., ""SOAP Version 1.2 (Second Edition)"", W3C Recommendation 27 April 2007. http://www.w3.org/TR/soap12/. ***** The correct citation reads: ***** SOAP12-PART1 SOAP Version 1.2 Part 1: Messaging Framework (Second Edition) , M. Gudgin, M. Hadley, N. Mendelsohn, J. Moreau, H. Frystyk Nielsen, A. Karmarkar, Y. Lafon, Editors, W3C Recommendation, 27 April 2007, http://www.w3.org/TR/2007/REC-soap12-part1-20070427/ . Latest version available at http://www.w3.org/TR/soap12-part1/ . ***** according to: http://www.w3.org/2002/01/tr-automation/tr-biblio-ui"

| [OBIX-154] 6.3 URI Normalization Created: 20/Feb/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 PR02 |
| Fix Version/s: | None |

| Type: | Bug | Priority: | Minor |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | TAB Review |

| Description |  |
| --- | --- |

"6.3 URI Normalization reads in part: ***** Vendors are free to use any URI scheme, although the recommendation is to use URIs since they have well defined normalization semantics. ***** Err, I don't think that makes any sense. ""free to use any URI schema, ....recommendation is to use URIs...""? Says the same thing. Yes? BTW, do not repeat the normalization rules of RFC3986. Violates the DRY - Don't Repeat Yourself rule. They have been defined and it is best to send readers to the actual reference."

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 10/Jun/14 ]

While I totally agree with the principle of DRY, this is not in my mind a full reiteration of the rules for URI normalization. I feel like this hits the important points of the concept in a reasonable way. I agree that perhaps a mention of RFC3986 is necessary. I certainly feel like the examples and the discussion on trailing slashes should remain. I'd like TC input on whether we agree with the removal of the URI rules.

| [OBIX-116] OBIX implementation(s) not well defined Created: 20/Feb/14 Updated: 10/Jun/14 Resolved: 10/Jun/14 |
| --- |
| Status: | Resolved |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 PR02 |
| Fix Version/s: | OBIX 1.1 WD27 |

| Type: | Improvement | Priority: | Major |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Toby Considine |
| Resolution: | Fixed |  |
| Labels: | request_tc_discussion |
| Environment: | TAB Review |

| Proposal: | Based on this comment, it almost seems like we need a Glossary of Terms at the beginning, which would include these items, as well as terms like the ones that are italicized (like Object, Val, Contract, Tag, etc.) |
| --- | --- |

| Description |  |
| --- | --- |

" Reading the beginning of the Conformance Clause: it talks of ""implementation"" as its very first word. But the only formal definition of ""implementation"" is in Contracts (""An Object which implements a Contract is said to be an implementation of that Contract."") so it naturally seems this is the ""implementation"" the conformance clause is talking about, in its introductory part. But my hunch is it is not... - we see ""server implementation"" at a few places. So then [OBIX] server would need to be defined, in turn. - we also see ""OBIX implementation"". Is it different from server implementation? - we also see OBIX server (and OBIX Client) here and there. But again no clear definition. - further in the conformance clause, we finally see: ""An implementation is a conforming OBIX Server if it meets the conditions described in Section 17.1. "". But again, that sounds circular: ""OBIX Server "" is already used before in the body of the specification, it should have a definition that does not rely on the conformance clause. Advice: - define [OBIX] Server and Client early on in the spec, based on their general function and role. Then stick to this terminology throughout.. The conformance clause can then establish their precise conformance conditions (without attempting to define these terms). - the whole text just at beginning of conformance section (and before 17.1 seems redundant, it is sufficient to recall what are the different types of implementations that will be dealt with (and that should be defined previously as they are used previously ). "

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 10/Jun/14 ]

Added Implementation to Glossary. Left language in 17, pending TC discussion.

| [OBIX-97] underspecified and/or under-referenced Negotiation mechanisms in conformance clause Created: 20/Feb/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 PR02 |
| Fix Version/s: | None |

| Type: | Improvement | Priority: | Major |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | TAB Review |

| Description |  |
| --- | --- |

"In the conformance clause : Negotiation mechanisms referred to in 17.1.3 (encodings) are vague. Nowhere in the specification is Negotiation clearly defined (HTTP header?). Instead of: ""...according to the mechanism defined for the specific binding used."" there should be a precise reference where these mechanisms are defined."

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 12/Mar/14 ]

Need TC discussion - my intent was to have this be a reference to whatever negotiation mechanisms may (or may not) be defined in the specification for the binding in question.

| [OBIX-94] Narrative style not appropriate for a standard Created: 20/Feb/14 Updated: 10/Jun/14 |
| --- |
| Status: | Open |
| Project: | OASIS Open Building Information Exchange (oBIX) TC |
| Component/s: | OBIX 1.1 Specification |
| Affects Version/s: | OBIX 1.1 PR02 |
| Fix Version/s: | None |

| Type: | Improvement | Priority: | Major |
| --- | --- | --- | --- |
| Reporter: | Toby Considine | Assignee: | Craig Gemmill |
| Resolution: | Unresolved |  |
| Labels: | request_tc_discussion |
| Environment: | TAB Review |

| Description |  |
| --- | --- |

"The style of the narrative reads more like a user guide than a standard. - In many places, the author uses ""we"". That should be generally avoided. E.g.: ""..., we typically don't allow defaults to be used"" --> replace with ""...default values are generally not allowed"". - ""There isn't much more to say about implicit Contracts other than it is recommended that a human brain be involved. "" Such an expression is hard to parse as of its exact meaning (even more so for a non-native speaker...): to avoid. - Casual style belongs more to a primer or user guide: ""So now let's look at the rules governing the explicit Contract."""

| Comments |  |
| --- | --- |

Comment by Craig Gemmill [ 12/Mar/14 ]

TC discussion on this approach. We decided early on that we were not going to try to undertake a complete rewrite of the conversational tone of the document. Is this TAB comment a statement that such a tone would not be accepted in the document? If so, we may be forced to undertake the rewrite. But it will not be an easy or quick task.

Generated at Wed Jun 11 10:53:44 UTC 2014 by Craig Gemmill using JIRA 6.2.2#6258-sha1:201243328db078df3cab7b27765d24a31aae57c8.